## Report
ENVIRONMENTAL STATEMENT FOR THE PERIOD 01.04.2018 TO 31.03.2019
(Submitted as per Rule-14 of the Environment (Protection) Amendment Rules, 1993 of the Environment (Protection) Act, 1986 (29 of 1986) published vide Notification dated 22.04.1993-G.S.R. 386(E) in the Gazette of India (Extraordinary) Part-II Section-3 Subsection (i). No.155 dated 28.04.1993 by the Ministry of Environment and Forests, Government of India: read with the Notification dated 13.02.1993 G.S.R. 329 (E) of the Gazette of India (Extraordinary) Part-II Section-3 Subsection (i) No. 120 dated 13-03-1993)
Form V
(See Rule 14)
PART "A"
GENERAL INFORMATION
1. | Company Name | [7 empty] | : | Brahmaputra Valley Fertilizer Corporation Limited,Namrup
2. | Occupier's Name | [7 empty] | : | Brahmaputra Valley Fertilizer Corporation Limited,Namrup
3. | Registered Office of the Company | [7 empty] | : | Brahmaputra Valley Fertilizer Corporation Limited,Namrup
| with address | [8 empty] | P.O. Parbatpur, Dist. Dibrugarh, Assam
Pin 786623
4. | Factory Address | [7 empty] | : | Brahmaputra Valley Fertilizer Corporation Limited,Namrup
P.O. Parbatpur, Dist. Dibrugarh, Assam
Pin 786623
5. | Industry Category | [7 empty] | : | Nitrogenous Fertilizer (Continuous Chemical)
6. | Production Capacity | [7 empty] | :
| Name of Product |  |  |  |  | As per Consent (MT / Year) | [5 empty] | Production (MT/Year)
As per actual
[12 empty] | 2017-18 | [5 empty] | 2018-19
| Urea (Namrup-II) | [5 empty] | 240000 | [5 empty] | 57730 | [5 empty] | 57712
| Urea (Namrup-III) | [5 empty] | 270000 | [5 empty] | 211856 | [5 empty] | 228603
7. | Establishment Year | [10 empty] | : | 1969
8. | Date of Last Environmental Statement submitted | [10 empty] | : | 2018-09-17
PART "B"
WATER AND RAW MATERIAL CONSUMPTION
B-1. | Total Water Consumption (M3/day)
| Source Name |  |  | Type of Water |  |  |  | Namrup-II | [8 empty] | Namrup-III
[8 empty] | 2017-18 |  |  |  | 2018-19 |  |  |  |  | 2017-18 |  |  |  |  | 2018-19
Near by Dilli River (Dishang River)
[5 empty] | Process |  |  | 1672.62 |  |  |  | 1663.1633 |  |  |  |  | 1575.6867 |  |  |  |  | 1705.99
[5 empty] | Domestic |  |  | 3469.4795 |  |  |  | 3463.5014 |  |  |  |  | 3182.6959 |  |  |  |  | 3176.3397
[5 empty] | Cooling |  |  | 10579.3633 |  |  |  | 10272.77 |  |  |  |  | 7624.48 |  |  |  |  | 8566.4067
B-2. | Water Consumption per unit of Product (M3/MT)
| Name of the Product | [9 empty] | Water Consumption per Unit of Product (M3/MT)
[11 empty] | 2017-18 | [6 empty] | 2018-19
|  |  | Urea (Namrup-II) | [7 empty] | 63.6687 | [6 empty] | 62.0457
|  |  | Urea (Namrup-III) | [7 empty] | 13.028 | [6 empty] | 13.4807
B-3. | Raw Material Consumption (MT/MT)
| Name of Raw Material | [5 empty] | Name of the Product | [6 empty] | Quantity of Raw Material per unit of the product manufactured (MT/MT)
[14 empty] | 2017-18 | [5 empty] | 2018-19
Natural Gas
[8 empty] | Urea (Namrup-II) | [5 empty] | 2.4319 | [5 empty] | 2.303
[8 empty] | Urea (Namrup-III) | [5 empty] | 0.99066 | [5 empty] | 0.98513
PART "C"
POLLUTION DISCHARGED TO ENVIRONMENT PER UNIT OF OUTPUT
C-1. | Water Pollution
| Pollution Parameter |  |  |  | Prescribed Limit for Inland Surface Water (mg/litr.)* |  |  |  |  | Quantity of Pollutants Discharge (Kg/day) | [5 empty] | Concentration of Pollutants in Discharge (mg/litr.) |  |  |  |  | Percentage of Variation from Prescribed Limit
|  | B.O.D |  |  | 30 |  |  |  |  | 114.5579 | [5 empty] | 27.3167 |  |  |  |  | -8.944%
|  | C.O.D |  |  | 250 |  |  |  |  | 586.4188 | [5 empty] | 139.8333 |  |  |  |  | -44.07%
* As per CPCB's General Standard for inland surface water. No prescribed limit for effluent.
C-2. | Air Pollution (Flue Gas)
| Name of Parameters |  |  |  | Prescribed Limit (mg/NM3) |  |  |  |  | Quantity of Pollutant Discharge (Kg/day) | [5 empty] | Concentration of Pollutants in Discharge (mg/NM3) |  |  |  |  | Percentage of Variation from Prescribed Limit
Parameters are well within limit
|  | SO2 |  |  | 80
|  | (a) | Namrup-II | [6 empty] | 1.2571 | [5 empty] | 1.2219
|  | (b) | Namrup-III | [6 empty] | 1.715 | [5 empty] | 1.2914
|  | NO2 |  |  | 400
|  | (a) | Namrup-II | [6 empty] | 0.92595 | [5 empty] | 0.90032
|  | (b) | Namrup-III | [6 empty] | 1.2013 | [5 empty] | 0.90357
PART "D"
HAZARDOUS WASTES
[As Specified under Hazardous Wastes(Management & Handling) Rule 1989]
| Description | [9 empty] | Total Quantity Generated
[11 empty] | 2017-18 | [6 empty] | 2018-19
|  | Used Oil (in KL) | [8 empty] | 1.61 | [6 empty] | 33
|  | Spent Catalyst (in MT) | [8 empty] | - | [6 empty] | -
|  | Waste Oil (in KL) | [8 empty] | - | [6 empty] | -
PART "E"
SOLID WASTES
| Description | [9 empty] | Total Quantity (in MT)
[11 empty] | 2017-18 | [6 empty] | 2018-19
|  | Spent Resin | [8 empty] | Nil | [6 empty] | Nil
|  | Water Treatment Plant Sludge | [8 empty] | Nil | [6 empty] | Nil
PART "F"
CHARACTERISTICS OF HAZARDOUS / SOLID WASTES
| Description | [6 empty] | Quantity Generated | [5 empty] | Constituent Parameter with Concentration | [5 empty] | Method of Disposal
|  | Used Oil (in kiloliters) | [5 empty] | 33 | [5 empty] | Approx. 20% water | [5 empty] | Used Oil, Spent Catalysts and Waste Oil are sold to CPCB authorized parties only.
|  | Spent Catalyst (in MT) | [5 empty] | - | [5 empty] | Total stock is a mixture of catalysts
|  | Waste Oil (in kiloliters) | [5 empty] | - | [5 empty] | NG Condensate
NB: The stock of spent catalyst is a mixture of 37.7 HT, 66.4 LT, PR/SR 16.6 & Methanation catalyst of 16.4 MT containing Nickel, Silicon, Chromium, Manganese etc.
PART "G"
IMPACT OF POLLUTION CONTROL MEASURES ON CONSERVATION OF NATURAL RESOURCES AND COST OF PRODUCTION
Operation of plants of Namrup Fertilizer Complex of BVFCL have their effect on the nature and natural resources like air and water in the following ways: (a) Impact of emissions in atmosphere, which is negligible. i) Natural Gas of Sulphur content only in traces is being used as fuel with excess quantity of air, so flue gas exit at the stacks of Primary Reformers, Boilers and Captive Power Plant turbines are practically free from hydrocarbons, SPM, SOX, NOX and CO. ii) Urea Prilling Tower dust emission in Urea Plant–III and Urea Plant-II are within the limits. Therefore, the contribution of Namrup Fertilizer Complex towards ambient SPM level is insignificant. iii) Various leakages taking place in plants occasionally (though being attended as soon as possible), ammonia concentration at some places inside the plants sometimes goes high. However, quality of ambient air outside the plants / factory is well within the allowable limit. Ambient air condition is monitored continuously in 2 Nos. fixed stations inside the factory premises and 2 Nos. stations outside the factory through Mobile Ambient Air Monitoring Van.
(b) Impact of Liquid Effluents in water: The characteristics of some of the ingredients in the effluent generated in Namrup Fertilizer Complex are such that these have only a very marginal potential to affect the river water. Analysis of various samples of ground water had shown practically no impact on ground water. However, in case start-up and shut down of plants, fluctuation in pH and ammoniacal nitrogen contents is experienced. As per CPCB's directive, online monitoring system for liquid effluents and stack gas was successfully installed and commissioned. The data is being continuously uploaded in the designated website of CPCB.
(c) Impact of Solid wastes: Solid Wastes generated in Namrup Fertilizer Complex are very small in quantity as natural gas is being used as raw material. Spent catalysts, discarded batteries etc. are the main solid wastes. These wastes are handled properly as a result of which there is no unwanted impact on the environment observed so far. As per relevant Hazardous Waste act, these solid wastes are sold to CPCB authorized vendors only.
Impact on Conservation of Natural Resources and on Cost of Production: The most important natural resources used in manufacture of fertilizer in Namrup Fertilizer Complex of BVFCL are (a) Natural Gas from M/S OIL (b) Water from nearby Dilli River and (c) Atmospheric Air. The pollution control measures as explained above ensure that the various constituents resulting in pollution both due to emissions as well as discharge of liquid effluents are kept within permissible limits after revamp. Apart from ensuring control of pollution, the measures also have resulted in tangible gains as far as conservation of natural resources is concerned. Purge gas from Ammonia synthesis in Ammonia-II and Ammonia-III are used as fuel in Primary Reformer instead of venting.
PART "H"
ADDITIONAL INVESTMENT PROJECTIONS ON ENVIRONMENTAL PROTECTION
Both the existing operating plants are likely to be permanetly closed down within next 4 to 5 years and new higher capacity plant based on state-of-the-art zero discharge plant will be established at the existing location of BVFCL Namrup.
PART "I"
ANY OTHER PARTICULARS IN RESPECT OF ENVIRONMENT PROTECTION AND ABETMENT OF POLLUTION
(a) Brahmaputra Valley Fertilizer Corporation Ltd, Namrup is located amidst pristine surroundings in the Dibrugarh district of Assam consisted of three plants. All the three Plants were established under the banner of Fertilizer Corporation of India Limited and Hindustan Fertilizer Corporation Limited at different periods. The first group of plants (Namrup-I) was established in the sixties and went into commercial production in 1969. Namrup-II group of Plants were added in the seventies and went into commercial production in 1976 and was followed by Namrup-III group of plants established in the eighties which went into commercial production in 1987. All the plants in Namrup-I group has now been dismantled and disposed off due to ageing, small capacity and obsolence. Presently, Namrup-II and Namrup-III group of plants are only running.
(b) Thus Plants were established at Namrup at different decades. As a consequence, the improvements in technologies are reflected in establishment of these plants - Namrup – III being the most sophisticated. Namrup–II and Namrup-III plants did not have most of the in-built pollution abatement facilities as these plants were coceived before the enactment of most of the present day pollution prevention laws/acts/norms etc. Depending on requirements from time to time as desired by Pollution Control Board, various pollution control facilities had been incorporated for Namrup – II & Namrup-III group of plants so as to meet the prescribed pollution standards. The process had continued and the pollution control measures were adopted as integral part of the renovation / revamping of the plants. In this connection it is worth noting that it is easier to incorporate in-built pollution control measures, in a new plant from design stage itself.
Signature of the Occupier
[11 empty] | Signature |  |  |  | : | _________________________
[11 empty] | Name |  |  |  | : | Shri A K Ghosh
[11 empty] | Designation |  |  |  | : | Director (Production)
BVFCL Namrup

## Part-B
|  | Water consumption for 2017-18 | [8 empty] | Water consumption for 2018-19
|  |  | N-II |  |  |  | N-III |  |  |  |  | N-II |  |  |  | N-III
|  | Month | Cooling | Domestic | Process | Total | Cooling | Domestic | Process | Total | Month | Cooling | Domestic | Process | Total | Cooling | Domestic | Process | Total
[6 empty] | PW Cons. |  |  |  | PW Cons. |  |  |  |  | PW Cons. |  |  |  | PW Cons.
|  | Apr.17 | 261704 | 103800 | 43218 |  | 227944 | 95220 | 45556 |  | Apr.18 | 234301 | 103800 | 37914 |  | 202487 | 95220 | 42879
|  | May.17 | 0 | 107260 | 12180 |  | 195963 | 98394 | 41135 |  | May.18 | 87079 | 107260 | 19160 |  | 238228 | 98394 | 45191
|  | Jun.17 | 210159 | 103800 | 34109 |  | 97194 | 95220 | 23948 |  | Jun.18 | 228790 | 104226 | 40110 |  | 221939 | 95504 | 42122
|  | Jul.17 | 314979 | 107260 | 45476 |  | 119660 | 98394 | 27466 |  | Jul.18 | 111470 | 107260 | 32960 |  | 195743 | 98394 | 40176
|  | Aug.17 | 300964 | 107260 | 44616 |  | 239619 | 98394 | 44916 |  | Aug.18 | 317747 | 107260 | 47765 |  | 179476 | 98394 | 37119
|  | Sep.17 | 286379 | 107260 | 44006 |  | 168422 | 98394 | 33917 |  | Sep.18 | 312479 | 104226 | 46661 |  | 242953 | 95504 | 43077
|  | Oct.17 | 324777 | 107260 | 48868 |  | 163332 | 98394 | 33165 |  | Oct.18 | 295095 | 107260 | 45547 |  | 170775 | 98394 | 35929
|  | Nov.17 | 297802 | 103800 | 44806 |  | 206229 | 95220 | 39792 |  | Nov.18 | 283579 | 104226 | 44366 |  | 231082 | 95504 | 43522
|  | Dec.17 | 281584 | 107260 | 43886 |  | 209983 | 98394 | 42357 |  | Dec.18 | 306869 | 107260 | 47435 |  | 211758 | 98394 | 43787
|  | Jan.18 | 307377 | 107260 | 47912 |  | 219367 | 98394 | 44760 |  | Jan.19 | 291086 | 107260 | 44536 |  | 199073 | 98394 | 44808
|  | Feb.18 | 275255 | 96880 | 43516 |  | 196598 | 88872 | 44341 |  | Feb.19 | 290540 | 96880 | 43386 |  | 227114 | 88872 | 43820
|  | Mar.18 | 312829 | 107260 | 49193 |  | 243033 | 98394 | 51353 |  | Mar.19 | 322796 | 107260 | 49109 |  | 249294 | 98396 | 49367
|  | Total | 3173809 | 1266360 | 501786 | 3675595 | 2287344 | 1161684 | 472706 | 2760050 | Total | 3081831 | 1264178 | 498949 | 3580780 | 2569922 | 1159364 | 511797 | 3081719
|  | M3/day | 10579.3633 | 3469.4795 | 1672.62 |  | 7624.48 | 3182.6959 | 1575.6867 |  | M3/day | 10272.77 | 3463.5014 | 1663.1633 |  | 8566.4067 | 3176.3397 | 1705.99
Urea Production (TOP -9 )
|  | 2017-18 |  | 2018-19
|  | U-II | U-III | U-II | U-III
|  | MT | MT | MT | MT
|  | 57730 | 211856 | 57712 | 228603
`
NG Consumption ( TOP-20 page-1) in SM3 |  |  |  |  | NG Consumption ( TOP-20 page-1) in MT |  |  |  | Mol.wt of NG(Kg/mol)
N-II |  | N-III |  |  | N-II |  | N-III |  | from TOP-7
2017-18 | 2018-19 | 2017-18 | 2018-19 |  | 2017-18 | 2018-19 | 2017-18 | 2018-19 | 2017-18 | 2018-19
187990257.3772 | 181630957 | 281034186.6228 | 307749533 |  | 140391.5417 | 132913.1635 | 209876.9547 | 225203.7025 | 16.7284 | 16.3918
| Total Billed | 469024444 | (2017-18)
|  | 489380490 | (2018-19) |  |  | Sample Calculation for weight of NG
[6 empty] | 22.4 | ltr | 17.79 | gm | 1M3=1000 Ltr
| NG Check | OK | (2017-18) |  |  | 1 | ltr | 17.79/22.4 | gm
|  | OK | (2018-19) |  |  | 1/1000 | sm3 | 17.79/22.4 | gm
[6 empty] | 1 | sm3 | (17.79/22.4)x1000 | gm
[7 empty] | = | 794.1964 | gm
[7 empty] | = | 0.7942 | kg
[7 empty] | = | 0.0007942 | MT
[7 empty] | 1 SM3= | 0.0007942 | MT of NG | for 2011-12
Note on C44: TS-Comp-3: biiled paid to oil as raised by them 4m Top 12 of N-III & N-II
Note on C45: TS-Comp-3: biiled paid to oil as raised by them 4m Top 12 of N-III & N-II

## Part-C
Waste water generation for 2018-19
Month | N-II | N-III | Total
|  |  | X103 M3 | [5 empty] | FLUE GAS STACKS OF N-II ( Pollutants in Kg ) for 2018-19
Apr.18 | 37914 | 42879 | 80.793 | BOD & COD |  |  |  | Stack for | Item | Average value in ppm | Molecular Weight (gm) | Weight (Kg) | Total Qnty of flue gas vented in NM3 | Qnty vented (Kg) | Capacity of stack (NM3/Hr.) | Running Hours | Avg load (%) | Running Days | Quantity vented (Kg/day) | Qnty vented (KG/NM3) | Total Quantity vented from Namrup-II |  |  |  |  | N-II |  |  | N-III
May.18 | 19160 | 45191 | 64.351 | [7 empty] | mol. Wt |  |  |  | NM3/hr |  |  |  |  | in kg/Nm3 | [5 empty] | SB-I | SB-II | AB | SB | WHB-I | WHB-II | AB
Jun.18 | 40110 | 42122 | 82.232 | Date | Time | BOD | COD | [14 empty] | KG/day | Kg/NM3 | Av. Load | =(tot production)/(productive hrs) | 43.8058 | 33.5315 | 50.3469 | 37.6464 | 44.1092 | 44.58 | 82.284
Jul.18 | 32960 | 40176 | 73.136 | 13.04.18 | 0900 Hrs | 26.4 | 140 | PR ( A-II) | NO2 | 0.43833 | 46 | 0.046 | 398395011.7551 | 358.6148 | 86020 | 7275.46 | 63.6581 | 303.1442 | 1.183 | 9.0015e-07 | NO2 | 0.92595 | 9.0032e-07 | Av. Load % | =(Av load)*100/cap | 58.4077 | 44.7086 | 41.9557 | 43.7749 | 91.8943 | 92.8751 | 68.57
Aug.18 | 47765 | 37119 | 84.884 | 11.05.18 | 0915 Hrs | 26 | 144 |  | CO | [16 empty] | N-II | N-III
Sep.18 | 46661 | 43077 | 89.738 | 08.06.18 | 0850 Hrs | 27 | 136 |  | SO2 | 0.42 | 64 | 0.064 |  | 478.074 |  |  |  |  | 1.5771 | 1.2e-06 | SO2 | 1.2571 | 1.2219e-06 |  | tot designed reformer NG | 99792000 | 117216000
Oct.18 | 45547 | 35929 | 81.476 | 13.07.18 | 0900Hrs | 28 | 142 | [17 empty] | act reformer NG (fig 4m TOP 20 page1) | 63525738.6006 | 102259758.2073
Nov.18 | 44366 | 43522 | 87.888 | 11.08.18 | 0845Hrs | 27.4 | 146 | [17 empty] | reformer load | 63.6581 | 87.2404
Dec.18 | 47435 | 43787 | 91.222 | 15.09.18 | 0910 Hrs | 28.2 | 138 | Aux.Boiler -N-II | NO2 | 0.42833 | 46 | 0.046 | 364994025.4196 | 321.0535 | 75000 | 7097.25 | 68.57 | 295.7188 | 1.0857 | 8.7961e-07
Jan.19 | 44536 | 44808 | 89.344 | 23.10.18 | 0900 Hrs | 27.2 | 134 |  | CO
Feb.19 | 43386 | 43820 | 87.206 | 20.11.18 | 0915Hrs | 27.6 | 140 |  | SO2 | 0.42667 | 64 | 0.064 |  | 444.9451 |  |  |  |  | 1.5046 | 1.219e-06
Mar.19 | 49109 | 49367 | 98.476 | 15.12.18 | 0900Hrs | 28.4 | 136
Total | 498949 | 511797 | 1010.746 | 16.01.19 | 0900 Hrs | 26.8 | 140
|  |  |  | 08.02.19 | 0915Hrs | 27.2 | 144 | Service Boiler-I | NO2 | 0.422 | 46 | 0.046 | 264964266.6667 | 229.6199 | 65000 | 6979.17 | 58.4077 | 290.7987 | 0.78962 | 8.6661e-07
|  |  |  | 14.03.19 | 0845 Hrs | 27.6 | 138 |  | CO
|  |  |  | Avg. of content in mg/ltr. |  | 27.3167 | 139.8333 |  | SO2 | 0.414 | 64 | 0.064 |  | 313.4149 |  |  |  |  | 1.0778 | 1.1829e-06
|  |  |  | Generation of BOD/COD in Kg |  | 27610.2116 | 141335.9823
[8 empty] | Service Boiler-II | NO2 | 0.465 | 46 | 0.046 | 8055600 | 7.6924 | 63000 | 286 | 44.7086 | 11.9167 | 0.64551 | 9.5491e-07
|  |  |  | Running Days |  |  |  |  | CO
|  |  |  | Urea Plant-II |  |  | 208.8396 |  | SO2 | 0.45 | 64 | 0.064 |  | 10.3572 |  |  |  |  | 0.86914 | 1.2857e-06
|  |  |  | Urea Plant-III |  |  | 273.1913
|  |  |  | Avg of U-II &U-III |  |  | 241.0154
[9 empty] | FLUE GAS STACKS OF N-III ( Pollutants in Kg ) for 2018-19 | [11 empty] | Total Quantity vented from Namrup-III
|  |  |  | Generation (Kg/day) |  |  |  | Stack for | Item | Average value in ppm | Molecular Weight | Weight (Kg) | Total Qnty of flue gas vented in NM3 | Qnty vented (Kg) | Capacity of stack (NM3/Hr.) | Running Hours | Avg load (%) | Running Days | Quantity vented (Kg/day) | Qnty vented (KG/NM3)
[11 empty] | mol. Wt |  |  |  | NM3/hr |  |  |  |  | in kg/Nm3
|  |  |  | (a) BOD |  |  | 114.5579 | [14 empty] | KG/day | Kg/NM3
|  |  |  | (b) COD |  |  | 586.4188 | PR ( A-III) | NO2 | 0.458 | 46 | 0.046 | 465260336.5619 | 437.594 | 75173 | 7094.41 | 87.2404 | 295.6004 | 1.4804 | 9.4054e-07 | NO2 | 1.2013 | 9.0357e-07
CO
[9 empty] | SO2 | 0.46 | 64 | 0.064 |  | 611.485 |  |  |  |  | 2.0686 | 1.3143e-06 | SO2 | 1.715 | 1.2914e-06
[8 empty] | Aux.Boiler | NO2 | 0.43 | 46 | 0.046 | 386307187.5 | 341.123 | 62500 | 7104.5 | 87 | 296.0208 | 1.1524 | 8.8304e-07
CO
[9 empty] | SO2 | 0.456 | 64 | 0.064 |  | 503.3031 |  |  |  |  | 1.7002 | 1.3029e-06
[8 empty] | Service Boiler | NO2 | 0.432 | 46 | 0.046 | 341405241.8605 | 302.8752 | 104200 | 7484.75 | 43.7749 | 311.8646 | 0.97118 | 8.8714e-07
CO
[9 empty] | SO2 | 0.44 | 64 | 0.064 |  | 429.1952 |  |  |  |  | 1.3762 | 1.2571e-06
[8 empty] | Stack for | Item | Average value in ppm | Molecular Weight | Weight (Kg) | Total Qnty of flue gas vented in Kg | Qnty vented (Kg) | Capacity of stack (Kg/Hr.) | Running Hours | Avg load (%) | Running Days
[11 empty] | mol. Wt |  |  |  | NM3/hr
[8 empty] | WHB-I | NO2 | 0.458 | 46 | 0.046 | 2536795750 | 1161.8525 | 321500 | 8586.5 | 91.8943 | 357.7708
CO
[9 empty] | SO2 | 0.456 | 64 | 0.064 |  | 1156.7789
[8 empty] | WHB-II | NO2 | 0.44 | 46 | 0.046 | 2564618895.8333 | 1128.4323 | 321500 | 8589 | 92.8751 | 357.875
CO
[9 empty] | SO2 | 0.436 | 64 | 0.064 |  | 1118.1738
Note on AH9: TOP 9 of SB-III
Note on AK9: admin: take production fig 4m TOP -13

## Part-D
PART- D
Hazardous Waste Generated
As Specified under Hazardous Wastes (Management & Handling) Rule 1989
| Description | Total Quantity
|  | 2017-18 | 2018-19
| Used Oil ( in KL) | 1.61 | 33
| Spent Catalyst ( in MT) | - | -
| Waste Oil (in KL) | - | -